## notification
notification_no | notification_type | notification_date | maintenance_plant | target_date | maint_work_centre | reported_by | work_order_no | assigned_to | parent_work_order_no | system_status | user_status | functional_location | location | superior_equipment | equipment | coding | work_request | description | tasks | staff_details | comments | object_part_items | cause_items | activity_items | approval.date_closed | approval.supervisor_verification | approval.for_mcs_use_only | approval.input_by | approval.closed_date | approval.status
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
12442178 | M7 | 08/04/2025 | 0805 | 15/04/2025 | WS20 | IP1020250430 | 4000673949 |  |  | NOPR NOPT ORAS OSTS | CLS ACK | PRAL-MRL-WS-STN-MRLTUN Station Tun Sambanthan | WES Wayside Department |  | TUN-UPS Uninterruptable Power System | MRWSU001 I006 Inspection - 3 Months Interval | Quarterly Inspection for UPS System | -PM COMPLETED | ['0001 I001'] | [{'name': 'MOHAMAD IRZAN BIN YUSOF', 'id': '10007094', 'plan_start_date_time': '15/04/2025 01:00:00', 'plan_end_date_time': '15/04/2025 04:00:00', 'total_hours': '3.00'}] |  | [{'item': '0001', 'object_part': 'UPS', 'damage': ''}] | [{'item': '0001', 'cause': 'Scheduled maintenance'}] | [{'item': '0001', 'activity': 'Check / Inspect -'}] | 15/04/2025 | 7094
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]
[19 empty] | [{'task': '', 'description': ''}] | [{'staff_id': '', 'name': '', 'plan_start_date_time': '', 'plan_end_date_time': '', 'total_hours': ''}] |  | [{'item': '', 'object_part': '', 'damage': ''}] | [{'item': '', 'cause': ''}] | [{'item': '', 'activity': ''}]

## work_order
work_order_no | work_order_type | date_opened | requester | target_date | cost_centre | notification_no | notification_type | status | priority | assigned_to | parent_work_order_no | maint_act_type | work_centre | maintenance_plant | functional_location | location | superior_equipment | equipment | description | operations | materials | labour_details | comments | object_part | cause | damage | action | approval.date_closed | approval.supervisor_verification | approval.for_mcs_use_only | approval.input_by | approval.closed_date | approval.status
4000672868 | RAIL - Preventive Maintenance Order | 16/04/2025 |  | 16/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLMAH Station Maharajalela | WES Wayside Department |  | MAH-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id/name': '10007094 MOHAMAD IRZAN BIN YUSOF', 'plan_start_date': '16/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '16/04/2025', 'plan_end_time': '04:00:00', 'duration': '3'}] |  | UPS | Scheduled maintenance- |  | Check/Inspect- | 16/04/2025 | 7094
4000672871 | RAIL - Preventive Maintenance Order | 22/04/2025 |  | 22/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLMKU Station Medan Tuanku | WES Wayside Department |  | MKU-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id': '10019234', 'staff_name': 'MOHAMAD NORIEZUWADI BIN ZUL', 'plan_start_date': '22/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '22/04/2025', 'plan_end_time': '04:00:00', 'duration_hours': '3'}] | PM Complete | UPS | Scheduled maintenance- | Check / Inspect- |  | 22/04/2025 | 19234 |  |  |  | 3PLN
4000690941 | RAIL - Preventive Maintenance Order | 26/07/2025 |  | 26/07/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-BLD-MRLDCC Depot Control Centre | WES Wayside Department |  | DCC-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'description': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id_name': '10007094 MOHAMAD IRZAN BIN YUSOF', 'plan_start_date': '26/07/2025', 'plan_start_time': '00:00:00', 'plan_end_date': '26/07/2025', 'plan_end_time': '04:00:00', 'duration': '4'}] | PM complete. | UPS | Scheduled maintenance- |  | Check/Inspect- | 26/07/2025 | 19234 |  |  |  | 3PLN
4000673151 | RAIL - Preventive Maintenance Order | 25/04/2025 |  | 25/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-BLD-MRLOCC Operation Control Centre | WES Wayside Department |  | OCC-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'description': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id': '10019924', 'staff_name': 'AHMAD JURIJ BIN AMIRUDIN', 'plan_start_date': '25/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '25/04/2025', 'plan_end_time': '04:00:00', 'duration_hours': '3'}] |  | UPS | Scheduled maintenance- |  | Check/Inspect- | 25/04/2025 | 19924 |  |  |  | 3PLN
4000672876 | RAIL - Preventive Maintenance Order | 19/04/2025 |  | 19/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLBNG Station Bukit Bintang | WES Wayside Department |  | BNG-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'description': 'Quarterly Inspection for UPS System', 'item_no': '', 'material_no': '', 'required_quantity': '', 'unit_of_measurement': '', 'plan_start_date': '', 'plan_start_time': '', 'plan_end_date': '', 'plan_end_time': '', 'duration_hours': ''}] | [] | [{'staff_id': '10007094', 'staff_name': 'MOHAMAD IRZAN BIN YUSOF', 'plan_start_date': '19/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '19/04/2025', 'plan_end_time': '04:00:00', 'duration_hours': '3'}] | Good Condition | UPS | Scheduled maintenance- |  | Check/Inspect- | 19/04/2025 | 7094
4000672878 | RAIL - Preventive Maintenance Order | 21/04/2025 |  | 21/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLBAS Station Bukit Nanas | WES Wayside Department | BAS-UPS Uninterruptable Power System | UPS | Quarterly Inspection for UPS System | [{'operation_no': '0010', 'description': '', 'item_no': '', 'material_no': '', 'required_quantity': '', 'unit_of_measurement': '', 'plan_start_date': '21/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '23/04/2025', 'plan_end_time': '04:00:00', 'duration': '51'}] | [] | [{'staff_id': '10019234', 'staff_name': 'MOHAMAD NORIEZUWADI BIN ZUL', 'plan_start_date': '21/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '23/04/2025', 'plan_end_time': '04:00:00', 'duration': '51'}] | pm complete | UPS | Scheduled maintenance- |  | Check / Inspect- | 21/04/2025 | 19234
4000673149 | RAIL - Preventive Maintenance Order | 24/04/2025 |  | 24/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLTSA Station Titiwangsa | WES Wayside Department |  | TSA-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id': '10019234', 'name': 'MOHAMAD NORIEZUWADI BIN ZUL', 'plan_start_date': '24/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '24/04/2025', 'plan_end_time': '04:00:00', 'duration': '3'}] |  | UPS | Scheduled maintenance- |  | Check/Inspect- | 24/04/2025 | 19234
4000673152 | RAIL - Preventive Maintenance Order | 26/04/2025 |  | 26/04/2025 | WS20 |  |  | 3PLN | 3-Medium | 8021131201 |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-BLD-MRLDCC | WES Wayside Department | DCC-UPS Uninterruptable Power System |  | Quarterly Inspection for UPS System | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id': '10019924', 'name': 'AHMAD JURIJ BIN AMIRUDIN', 'plan_start_date': '26/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '26/04/2025', 'plan_end_time': '04:00:00', 'duration_hours': '3'}] | Good Condition | UPS | Scheduled maintenance- |  | Check/Inspect- | 26/04/2025 | 19924
4000672877 | RAIL - Preventive Maintenance Order | 20/04/2025 |  | 20/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLRAN Station Raja Chulan | WES Wayside Department |  | RAN-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id_name': '10007094 MOHAMAD IRZAN BIN YUSOF', 'plan_start_date': '20/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '20/04/2025', 'plan_end_time': '04:00:00', 'duration': '3'}] | 2 bank faulty, waiting new battery. | UPS | Scheduled maintenance- |  | Check / Inspect- | 20/04/2025 | 7094 |  |  |  | 3PLN
4000672879 | RAIL - Preventive Maintenance Order | 23/04/2025 |  | 23/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLCIT Station Chow Kit | WES Wayside Department |  | CIT-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id_name': '10019234 MOHAMAD NORIEZUWADI BIN ZUL', 'plan_start_date': '23/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '23/04/2025', 'plan_end_time': '04:00:00', 'duration': '3'}] | PM complete | UPS | Scheduled maintenance- |  | Check / Inspect- | 23/04/2025 | 19234
[20 empty] | [] | [] | []
4000675828 | RAIL - Preventive Maintenance Order | 14/04/2025 |  | 14/04/2025 | 8021121202 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-KJL-WS-STN-KLS Station KL Sentral | WES Wayside Department |  | KLS-UPS Uninterruptable Power System | Quarterly Inspection for UPS System | [{'operation_no': '0010', 'description': 'Quarterly Inspection for UPS System', 'item_no': '', 'material_no': '', 'required_quantity': '', 'unit_of_measurement': '', 'plan_start_date': '', 'plan_start_time': '', 'plan_end_date': '', 'plan_end_time': '', 'duration': ''}] | [] | [{'staff_id': '10007114', 'staff_name': 'DINESH KUMAR A/L VARUTHER RAJOO', 'plan_start_date': '14/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '14/04/2025', 'plan_end_time': '04:00:00', 'duration': '3'}, {'staff_id': '', 'staff_name': '', 'plan_start_date': '', 'plan_start_time': '', 'plan_end_date': '', 'plan_end_time': '', 'duration': ''}] | Pm complete. | UPS | Scheduled maintenance- |  | Check / Inspect- | 14/04/2025 | 7114
4000672875 | RAIL - Preventive Maintenance Order | 18/04/2025 |  | 18/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLIBI Station Imbi | WES Wayside Department |  | IBI-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System'}] | [] | [{'staff_id/name': '10007094 MOHAMAD IRZAN BIN YUSOF', 'plan_start_date': '18/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '18/04/2025', 'plan_end_time': '04:00:00', 'duration': '3'}] | Good Condition | UPS | Scheduled maintenance- |  | Check / Inspect- | 18/04/2025 | 7094
4000672874 | RAIL - Preventive Maintenance Order | 17/04/2025 |  | 17/04/2025 | 8021131201 |  |  | 3PLN | 3-Medium |  |  | PVM | WS20 | 0805 Rapid Rail StarRail (Monorail) | PRAL-MRL-WS-STN-MRLHAH Station Hang Tuah | WES Wayside Department |  | HAH-UPS Uninterruptable Power System |  | [{'operation_no': '0010', 'operation_text': 'Quarterly Inspection for UPS System', 'item_no': '', 'material_no': '', 'description': '', 'required_quantity': '', 'unit_of_measurement': '', 'plan_start_date': '', 'plan_start_time': '', 'plan_end_date': '', 'plan_end_time': '', 'duration_hours': ''}] | [] | [{'staff_id': '10007094', 'name': 'MOHAMAD IRZAN BIN YUSOF', 'plan_start_date': '17/04/2025', 'plan_start_time': '01:00:00', 'plan_end_date': '17/04/2025', 'plan_end_time': '04:00:00', 'duration_hours': '3'}] | All in good Condition | UPS | Scheduled maintenance- |  | Check / Inspect- | 17/04/2025 | 7094

## ups_system
workorder_id | station | date_time | pm_order | checklist_items.safety_and_preparation.make_sure_safety_precautions___procedures_being_followed_as_required..status | checklist_items.safety_and_preparation.inform_occ_before_start_any_task..status | checklist_items.safety_and_preparation.remarks | checklist_items.general_inspection.perform_visual_inspection_and_confirm_all_cable_properly_connected..status | checklist_items.general_inspection.confirm_both_of_module_is_on_and_inverter_mode..status | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.status | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.A_battery_capacity | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.B_module_temp.in | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.B_module_temp.out | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.C_battery_run_time | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.D_output_freq_hz | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.E_bypass_freq_hz | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.F_battery_voltage_v.positive | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.F_battery_voltage_v.negative | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.G_battery_charge_car_a.positive | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.G_battery_charge_car_a.negative | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.H_discharge_current_a | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.I_rectifier_voltage_v | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.J_bypass_voltage_v | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.K_output_voltage_v | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.L_output_current_a | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.M_active_power_kw | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.N_reactive_power_kva | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.O_apparent_power_kva | checklist_items.general_inspection.using_scroll_arrow_scroll_and_record_as_below.readings.P_output_power_percent | checklist_items.general_inspection.remarks: | checklist_items.servicing_and_cleaning.set_the_ups_to_maintenance_bypass_mode_by_using_command_from_module..status | checklist_items.servicing_and_cleaning.switching_on_switch_maintenance_bypass_in_front_of_ups_rack..status | checklist_items.servicing_and_cleaning.confirm_the_display_panel_is_showing_bypass_mode..status | checklist_items.servicing_and_cleaning.switch_off_all_battery_breakers..status | checklist_items.servicing_and_cleaning.switch_off_both_of_module_using_2_finger_push_button_on_off..status | checklist_items.servicing_and_cleaning.open_screw_and_pull_both_of_module_to_cleaning..status | checklist_items.servicing_and_cleaning.open_screws_each_battery_bank_and_check_the_voltage..status | checklist_items.servicing_and_cleaning.wait_for_the_electrolytic_condensers_on_the_power_board_to_discharge_wait_at_least_15min_before_proceed_any_maintenance_work..status | checklist_items.servicing_and_cleaning.randomly_check_the_voltages_on_the_batteries._ensure_minimum_voltage_is_read_as_12..status | checklist_items.servicing_and_cleaning.maximum_should_not_be_more_than_13.8v..status | checklist_items.servicing_and_cleaning.check_end_to_end_batteries_voltages..status | checklist_items.servicing_and_cleaning.do_the_cleaning_on_all_the_batteries._confirm_and_ensure_no_cable_is_disconnected_from_any_terminals..status | checklist_items.servicing_and_cleaning.after_completed_the_cleaning_confirm_all_cablings..status | checklist_items.servicing_and_cleaning.are_secured_and_in_the_correct_position..status | checklist_items.servicing_and_cleaning.switch_on_both_of_module_using_2_finger_push..status | checklist_items.servicing_and_cleaning.button_on_off..status | checklist_items.servicing_and_cleaning.normalized_all_battery_breakers..status | checklist_items.servicing_and_cleaning.switch_off_switch_maintenance_bypass_in_front_of_ups_rack..status | checklist_items.servicing_and_cleaning.set_the_ups_to_inverter_mode_by_using_command_from_module..status | checklist_items.servicing_and_cleaning.confirm_with_occ_no_alarm_is_activated_on_scada..status | checklist_items.servicing_and_cleaning.check_and_see_is_everything_back_to_normal..status | checklist_items.battery_backup_test.before_proceed_this_test_make_sure_battery_level_should_be_above_80%_of_load..status | checklist_items.battery_backup_test.confirm_ups_in_inverter_mode_and_no_alarm_activated..status | checklist_items.battery_backup_test.turn_off_main_switch_breaker_for_main_incoming_supply..status | checklist_items.battery_backup_test.confirm_after_a_few_seconds_alarm_sounding_battery_working_led_illuminate_and_ups_change_to_battery_mode..status | checklist_items.battery_backup_test.observe_the_ups_time_remaining_and_battery_percentage..status | checklist_items.battery_backup_test.switch_on_back_main_switch_breaker_after_ups_reaching_50%_of_battery_level..status | comments_recommendation | performed_by.name | performed_by.id | verified_by.name | verified_by.id | reference_document | filename
4000672868 | MAH | 16/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 22.0 | NA | NA | 50.01 | 50.03 | 267.4 | 267.7 | 0.0 | 0.1 | 0 | 56, 1, 33 | 246, 241, 243 | 241, 241, 241 | 0.2, 0.3, 1.9 | NA, NA, NA | NA, NA, NA | NA, NA, NA | NA, NA, NA |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | IZZUDDIN | 22388 | MOHD IRZAN | 7094 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672868.pdf
4000672871 | MKU | 22/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 37.9 | NA | 261 | 50.06 | 50.00 | 268 | 249 | 0.0 | 0.0 |  | 233, 234, 237 | 235, 264, 237 | 239, 240, 240 | 1.4, 4.3, 3.6 | 0.3, 0.2, 0.2 | 0.3, 1.0, 0.9 | 0.3, 1.0, 0.9 | 4, 15, 14 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | M. ISKANDAR | 20157 | NORIEZUWADI | 19234 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672871.pdf
4000690941 | Depoh lama. | 26/07/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 98.7 | 25.5 | 27.0 | NA | 50 | 50 | 268.0 | 267.4 | NA | NA | NA | NA, NA, NA | 241.6, NA, NA | 240.4, NA, NA | 38.0, NA ,NA | 8.4, NA, NA | 9.1, NA, NA | 9.0, NA, NA | 30.3, NA, NA |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | M. ISKANDAR | 20157 | NORIEZUWADI | 19234 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000690941.pdf
4000673151 | OCC | 25/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 25.5 | 27.0 | 173.1 | 49.95 | 49.95 | 267.5 | 267.5 | 0.0 | 0.1 |  | 246.7, 245.8, 245.4 | 246.8, 246.0, 245.2 | 230, 230, 230 | 2.8, 4.2, 4.5 | 0.5, 0.9, 0.9 | 0.6, 1.0, 1.1 | 2.5, 3.9, 4.0 | 19.3, 29, 31.3 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | PM inspection already make by group Jurij and also tonight has test train so mainline remain ON. | SUFFI SHUKHAIRI | 20971 | JURIJ | 19924 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000673151.pdf
4000672876 | BNG | 19/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 33.6 | NA | 600 | 50.04 | 50 | 226 | 226 | 0.0 | 0.0 | 0 | 243, 243, 246 | 244, 243, 246 | 239, 239, 240 | 2.3, 6.2, 4 | 0.5, 1.5, 0.3 | 0.2, 0.2, 0.1 | 0.6, 1.5, 0.3 | 9, 2.5, 13 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | IZZUDDIN | 22388 | MOHD IRZAN | 7094 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672876.pdf
4000672878 | BAS | 21/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 32.2 | NA | 195 | 49.99 | 50 | 266 | 266 | 0.0 | 0.0 | 0 | 246, 246, 248 | 246, 240, 248 | 240, 240, 240 | 1.5, 3.5 ,5.7 | 0.3, 0.9, 1.4 | 3.7, 0.2, 0.2 | 0.3, 0.8, 1.4 | 5, 1, 0.1 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | IHZ | 20157 | MNZ | 19234 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672878.pdf
4000673149 | TSA | 24/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 35.9 | NA | 205 | 49.99 | 50 | 226 | 226 | 0.0 | 0.0 | 0 | 240, 241, 243 | 241, 241, 243 | 240, 239, 239 | 1.5, 3.4 ,3.7 | 0.3, 1.2, 1.3 | 0.1, 0.2, 0.3 | 0, 1.2, 1.4 | 20, 20, 20 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | M.ISKANDAR | 20157 | NORIEZUWADI | 19234 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000673149.pdf
4000673152 | Depot | 26/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | NA | NA | 50 | 50 | 50 | 26.8 | 26.8 | 0.0 | 0.0 | 0 | 242, 242, 245 | 242, NA, NA | 240, NA, NA | 38.8, NA ,NA | NA, NA, NA | 3.7, NA, NA | 8.9, NA, NA | 30, NA, NA |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | SUFFI SHUKHAIRI | 20971 | AHMAD JURIS | 19924 |  | PS_PM_QTR_UPSSystem_4000673152.pdf
4000672877 | RAN | 20/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 32.1 | NA | 238 | 50.03 | 50.00 | 266 | 266 | 0.0 | 0.0 | 0.0 | 246, 244, 245 | 244, 243, 246 | 239, 240, 239 | 2.2, 3.8, 4.9 | 0.5, 0.8, 1.2 | 0.0, 0.2, 0.1 | 0.5, 1.0, 1.1 | 7, 12, 17 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | IZZUDDIN | 22388 | MOHD IRZAN | 7094 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672877.pdf
4000672879 | CIT | 23/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 32.3 | NA | 451 | 49.98 | 50.00 | 266 | 267 | 0.0 | 0.0 | 0.0 | 246, 245, 245 | 246, 245, 245 | 239, 240, 239 | 0.8, 1.7, 2.2 | 0.1, 0.3, 0.7 | 0.0, 0.4, 0.1 | 0.1, 0.4, 0.2 | 2, 5, 11 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | ISKANDAR | 20157 | NORIEZUWADI | 19234 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672879.pdf
4000673949 | Tun | 15/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 22.0 | NA | NA | 50.01 | 50.03 | 267 | 267 | 0.0 | 0.1 | 0.0 | 50, 1, 33 | 240, 241, 243 | 241, 241, 240 | 0.2, 0.3, 1.9 | 0.1, 0.4, 0.3 | 0.5, 2.0, 1.5 | 0.3, 1.0, 1.0 | 83, 16.3, 15.4 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | IZUDDIN | 22388 | MOHD IRZAN | 7094 |  | PS_PM_QTR_UPSSystem_4000673949.pdf
4000675828 | KLS | 14/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 34.6 | 41.3 | 212 | 49.98 | 50 | 266 | 266 | 0.0 | 0.0 | 0 | 257, 256, 258 | 257, 256, 238 | 240, 239, 240 | 2.3, 4.6, 5.4 | 0.5, 1.0, 1.3 | 0.1, 0.4, 0.2 | 0.5, 1.0, 1.3 | 9, 14, 20 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | SHAHIN AMMAR | 20610 | DINESH | 7114 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000675828.pdf
4000672875 | IBI | 18/04/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 32.2 | NA | 124 | 50.04 | 50.00 | 266 | 266 | 0.0 | 0.0 | 0.0 | 253, 253, 256 | 235, 253, 253 | 239, 240, 235 | 2.9, 7.6, 10.3 | 0.7, 1.5, 2.4 | 0.0, 0.1, 0.5 | 0.6, 1.6, 2.5 | 10, 27, 37 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good conditon | IZZUDDIN | 22388 | MOHD IRZAN | 7094 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672875.pdf
4000672874 | HAH | 17/4/2025 | NA | TRUE | TRUE |  | TRUE | TRUE | TRUE | 100 | 34.6 | 41.3 | 212 | 49.98 | 50 | 266 | 266 | 0.0 | 0.0 | 0 | 240, 239, 242 | 241, 239, 245 | 240, 239, 246 | 1.4, 3.4, 2.5 | 0.3, 0.8, 0.5 | 0.0, 0.1, 0.1 | 0.3, 0.8, 0.6 | 5, 11, 9 |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | All in good condition | izzudin | 22388 | mohd irzan | 7094 | KLMFEP-33001 | PS_PM_QTR_UPSSystem_4000672874.pdf