PS_PM_QTR_StationInspection_4000680798.pdf | 4000680798 | {"station_location": "MAH", "inspection_date": "06/06/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 20.0, "station.main_switch_board.cos": 0.98, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.96", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 24997, "genset.diesel_engine.running_hour.after": 25000, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 29.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "1:00:00", "genset.inspection_time.end_time": "2:00:00", "technician_name": "", "technician_id": "", "technician_date": "06/06/2025", "supervisor_name": "", "supervisor_id": "", "supervisor_date": "06/06/2025", "genset.remarks": "All in good condition"}
PS_PM_QTR_StationInspection_4000680799.pdf | 4000680799 | {"station_location": "TUN", "inspection_date": "06/06/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": null, "station.main_switch_board.cos": 0.98, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0-50", "station.essential_main.cos": "0.96", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 12545, "genset.diesel_engine.running_hour.after": 12549, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 29.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "00:02:00", "genset.inspection_time.end_time": "00:03:00", "technician_name": "", "technician_id": "", "technician_date": "06/06/2025", "supervisor_name": "", "supervisor_id": "", "supervisor_date": "06/06/2025", "genset.remarks": "All in good condition"}
PS_PM_QTR_StationInspection_4000682179.pdf | 4000682179 | {"station_location": "KLS", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": null, "station.main_switch_board.cos": 0.98, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0-50", "station.essential_main.cos": "0.96", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOID CONDITION", "genset.diesel_engine.running_hour.before": 9733, "genset.diesel_engine.running_hour.after": 9737, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 29.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "2:00:00", "genset.inspection_time.end_time": "3:00:00", "technician_name": "", "technician_id": "", "technician_date": "07/06/2025", "supervisor_name": "", "supervisor_id": "", "supervisor_date": "07/06/2025", "genset.remarks": "All in good condition"}
PS_PM_QTR_StationInspection_4000683023.pdf | 4000683023 | {"station_location": "OLD DEPOT", "inspection_date": "06/08/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 0.41, "station.main_switch_board.cos": 0.92, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0.42", "station.essential_main.cos": "", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 17530, "genset.diesel_engine.running_hour.after": 17534, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 230, "genset.amf_board.output_service.phase_to_neutral.yn": 230, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 29.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "", "genset.inspection_time.end_time": "", "technician_name": "HAZIQ DANIAL", "technician_id": "20448", "technician_date": "08/06/2025", "supervisor_name": "NORIEZUWAN", "supervisor_id": "19234", "supervisor_date": "08/06/2025", "genset.remarks": "All in good condition"}
PS_PM_WEK_StationInspection_4000683025.pdf | 4000683025 | {"station_location": "TSA", "inspection_date": "06/09/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 0.42, "station.main_switch_board.cos": 0.94, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0.42", "station.essential_main.cos": "", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 20990, "genset.diesel_engine.running_hour.after": 20994, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 230, "genset.amf_board.output_service.phase_to_neutral.yn": 230, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 29.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "", "genset.inspection_time.end_time": "", "technician_name": "DANIAL", "technician_id": "20448", "technician_date": "09/06/2025", "supervisor_name": "NORIEZLI WAY", "supervisor_id": "19234", "supervisor_date": "09/06/2025", "genset.remarks": "All in good condition"}
PS_PM_WEK_StationInspection_4000683026.pdf | 4000683026 | {"station_location": "CIT", "inspection_date": "06/09/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 0.41, "station.main_switch_board.cos": 0.93, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0.43", "station.essential_main.cos": "", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 10515, "genset.diesel_engine.running_hour.after": 10516, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 230, "genset.amf_board.output_service.phase_to_neutral.yn": 230, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 29.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "02:30:00", "genset.inspection_time.end_time": "03:00:00", "technician_name": "HAZIQ DANIAL", "technician_id": "20448", "technician_date": "09/06/2025", "supervisor_name": "NURIEZUWADI", "supervisor_id": "19234", "supervisor_date": "09/06/2025", "genset.remarks": "All in good condition"}
PS_PM_WEK_StationInspection_4000683028.pdf | 4000683028 | {"station_location": "MKU", "inspection_date": "06/11/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 0.45, "station.main_switch_board.cos": 0.95, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0.15", "station.essential_main.cos": "0.85", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 23496, "genset.diesel_engine.running_hour.after": 23499, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "00:45:00", "genset.inspection_time.end_time": "01:45:00", "technician_name": "IZZUDIN", "technician_id": "22388", "technician_date": "11/06/2025", "supervisor_name": "MOHD IRZAN", "supervisor_id": "7094", "supervisor_date": "11/06/2025", "genset.remarks": "All in Good Condition."}
PS_PM_WEK_StationInspection_4000683029.pdf | 4000683029 | {"station_location": "BAS", "inspection_date": "06/10/2025", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 25.0, "station.main_switch_board.cos": 0.9, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "15", "station.essential_main.cos": "0.95", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 30444, "genset.diesel_engine.running_hour.after": 30448, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 28.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "02:00:00", "genset.inspection_time.end_time": "03:00:00", "technician_name": "IZZUDDIN", "technician_id": "22388", "technician_date": "14/06/2025", "supervisor_name": "MOHD IRZAN", "supervisor_id": "S10943", "supervisor_date": "11/06/2025", "genset.remarks": "All in Good Condition."}
PS_PM_WEK_StationInspection_4000683060.pdf | 4000683060 | {"station_location": "", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 45.0, "station.main_switch_board.cos": 0.95, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": null, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.75", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 16591, "genset.diesel_engine.running_hour.after": 16594, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 28.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "2:15:00", "genset.inspection_time.end_time": "3:15:00", "technician_name": "M. AMIRUL", "technician_id": "22281", "technician_date": "11/06/2025", "supervisor_name": "MOHD IRZAN", "supervisor_id": "7094", "supervisor_date": "11/06/2025", "genset.remarks": "All in Good Gondition"}
PS_PM_WEK_StationInspection_4000683101.pdf | 4000683101 | {"station_location": "", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 50.0, "station.main_switch_board.cos": 0.95, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.75", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 11793, "genset.diesel_engine.running_hour.after": 11793, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "", "genset.amf_board.selector_sw_position": "OFF", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "", "genset.battery_and_battery_charger.battery_voltage": null, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "", "genset.battery_and_battery_charger.battery_charger_card": "", "genset.battery_and_battery_charger.lighting": "", "genset.inspection_time.start_time": "1:00:00", "genset.inspection_time.end_time": "2:00:00", "technician_name": "M. AMIRUL", "technician_id": "22281", "technician_date": "", "supervisor_name": "MIY", "supervisor_id": "7094", "supervisor_date": "", "genset.remarks": "Genset Cannot run under maintenance"}
PS_PM_WEK_StationInspection_4000683103.pdf | 4000683103 | {"station_location": "", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 25.0, "station.main_switch_board.cos": 0.95, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": null, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.98", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 13722, "genset.diesel_engine.running_hour.after": 13726, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "00:12:00", "genset.inspection_time.end_time": "00:01:00", "technician_name": "IZZUDDIN", "technician_id": "22388", "technician_date": "", "supervisor_name": "MOHD IRZAN", "supervisor_id": "7094", "supervisor_date": "12/06/2025", "genset.remarks": "All in Good Condition"}
PS_PM_WEK_StationInspection_4000683104.pdf | 4000683104 | {"station_location": "", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 15.0, "station.main_switch_board.cos": 0.95, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": null, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "0.8", "station.essential_main.cos": "", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 29379, "genset.diesel_engine.running_hour.after": 29382, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "", "genset.inspection_time.end_time": "", "technician_name": "IZZUDIN", "technician_id": "22388", "technician_date": "", "supervisor_name": "MOHD IRZAN", "supervisor_id": "7094", "supervisor_date": "", "genset.remarks": "All in Good Condition."}
PS_PM_WEK_StationInspection_4000683106.pdf | 4000683106 | {"station_location": "TUN", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 50.0, "station.main_switch_board.cos": 0.85, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "15", "station.essential_main.cos": "0.9", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 12549, "genset.diesel_engine.running_hour.after": 12553, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "00:02:00", "genset.inspection_time.end_time": "00:03:00", "technician_name": "IZZUDDIN", "technician_id": "22388", "technician_date": "", "supervisor_name": "MOHD IRZAN", "supervisor_id": "7094", "supervisor_date": "", "genset.remarks": "All in Good Condition."}
PS_PM_WEK_StationInspection_4000683107.pdf | 4000683107 | {"station_location": "MAH", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 15.0, "station.main_switch_board.cos": 1.0, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "15", "station.essential_main.cos": "0.95", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 25000, "genset.diesel_engine.running_hour.after": 25004, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 210, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "00:12:00", "genset.inspection_time.end_time": "00:01:00", "technician_name": "IZZUDIN", "technician_id": "22388", "technician_date": "", "supervisor_name": "MOHD IRZAN", "supervisor_id": "7094", "supervisor_date": "", "genset.remarks": "All in Good Condition."}
PS_PM_WEK_StationInspection_4000685363.pdf | 4000685363 | {"station_location": "NEW DEPOH", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 10.0, "station.main_switch_board.cos": 0.99, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 12.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "20", "station.essential_main.cos": "0.99", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 7880, "genset.diesel_engine.running_hour.after": 7883, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "ON LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "02:00:00", "genset.inspection_time.end_time": "03:00:00", "technician_name": "M. ISKANDAR", "technician_id": "20157", "technician_date": "15/06/2025", "supervisor_name": "NORIEZUWADI", "supervisor_id": "19234", "supervisor_date": "15/06/2025", "genset.remarks": "All in good condition"}
PS_PM_WEK_StationInspection_4000685376.pdf | 4000685376 | {"station_location": "TUN", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 20.0, "station.main_switch_board.cos": 0.99, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": null, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.99", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 12553, "genset.diesel_engine.running_hour.after": 12557, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "HIGH", "genset.diesel_engine.diesel_tank": "HIGH", "genset.diesel_engine.engine_test_run": "ON LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 240, "genset.amf_board.output_service.phase_to_neutral.yn": 240, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": null, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "02:00:00", "genset.inspection_time.end_time": "03:00:00", "technician_name": "ISKANDAR", "technician_id": "20157", "technician_date": "", "supervisor_name": "NORIEZUWADI", "supervisor_id": "19234", "supervisor_date": "", "genset.remarks": "All in good condition."}
PS_PM_WEK_StationInspection_4000690702.pdf | 4000690702 | {"station_location": "TSA", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 35.0, "station.main_switch_board.cos": 0.99, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.99", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 21151, "genset.diesel_engine.running_hour.after": 21155, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 230, "genset.amf_board.output_service.phase_to_neutral.yn": 230, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "00:30:00", "genset.inspection_time.end_time": "01:30:00", "technician_name": "ISKANDAR", "technician_id": "20157", "technician_date": "14/07/2025", "supervisor_name": "NORIEZUWADI", "supervisor_id": "9234", "supervisor_date": "14/07/2025", "genset.remarks": "All in good condition."}
PS_PM_WEK_StationInspection_4000690703.pdf | 4000690703 | {"station_location": "CIT", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 25.0, "station.main_switch_board.cos": 0.99, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": null, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.99", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION.", "genset.diesel_engine.running_hour.before": 10530, "genset.diesel_engine.running_hour.after": 10533, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 230, "genset.amf_board.output_service.phase_to_neutral.yn": 230, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "02:00:00", "genset.inspection_time.end_time": "03:00:00", "technician_name": "M.ISKANDAR", "technician_id": "20157", "technician_date": "14/07/2025", "supervisor_name": "NORIEZUWADI", "supervisor_id": "19234", "supervisor_date": "14/07/2025", "genset.remarks": "All in good condition."}
PS_PM_WEK_StationInspection_4000690705.pdf | 4000690705 | {"station_location": "MKU", "inspection_date": "", "station.main_switch_board.voltmeter": 415.0, "station.main_switch_board.ammeter": 30.0, "station.main_switch_board.cos": 0.99, "station.main_switch_board.indicator_light_r_y_b": "NORMAL", "station.main_switch_board.capacitor_bank": 4.0, "station.essential_main.voltmeter": 415.0, "station.essential_main.ammeter": "10", "station.essential_main.cos": "0.99", "station.essential_main.indicator_light": "NORMAL", "station.earthing_system.envelope_area": "NORMAL", "station.earthing_system.msb_room": "NORMAL", "station.earthing_system.genset_room": "NORMAL", "station.earthing_system.chamber_condition": "NORMAL", "station.remarks": "ALL IN GOOD CONDITION", "genset.diesel_engine.running_hour.before": 23510, "genset.diesel_engine.running_hour.after": 23515, "genset.diesel_engine.engine_service.previous_date": "", "genset.diesel_engine.engine_oil_level": "MAX", "genset.diesel_engine.diesel_tank": "MAX", "genset.diesel_engine.engine_test_run": "OFF LOAD", "genset.amf_board.selector_sw_position": "TEST", "genset.amf_board.output_service.phase_to_phase_reading.ry": 415, "genset.amf_board.output_service.phase_to_phase_reading.yb": 415, "genset.amf_board.output_service.phase_to_phase_reading.rb": 415, "genset.amf_board.output_service.phase_to_neutral.rn": 230, "genset.amf_board.output_service.phase_to_neutral.yn": 230, "genset.amf_board.ammeter": "", "genset.amf_board.indicator_light": "NORMAL", "genset.battery_and_battery_charger.battery_voltage": 30.0, "genset.battery_and_battery_charger.battery_terminal": "TIGHT", "genset.battery_and_battery_charger.battery_electrolyte_level": "HIGH", "genset.battery_and_battery_charger.battery_charger_card": "NORMAL", "genset.battery_and_battery_charger.lighting": "NORMAL", "genset.inspection_time.start_time": "02:00:00", "genset.inspection_time.end_time": "03:00:00", "technician_name": "M. ISKANDAR", "technician_id": "20157", "technician_date": "", "supervisor_name": "ORIEZUWADI", "supervisor_id": "19234", "supervisor_date": "", "genset.remarks": "All in good conditionの"}