## projector
workorder_id | filename | station | date_time | comment_recommendation | technician_id | supervisor_id | a.part_descriptions | a.maintenance_actions.a.desc | a.maintenance_actions.a.status | a.maintenance_actions.a.identification | a.maintenance_actions.b.desc | a.maintenance_actions.b.status | a.maintenance_actions.b.identification | a.maintenance_actions.c.desc | a.maintenance_actions.c.status | a.maintenance_actions.c.identification | a.maintenance_actions.d.desc | a.maintenance_actions.d.status | a.maintenance_actions.d.identification | a.maintenance_actions.e.desc | a.maintenance_actions.e.status | a.maintenance_actions.e.identification | b.part_descriptions | b.maintenance_actions.a.desc | b.maintenance_actions.a.status | b.maintenance_actions.a.identification
| SC_PM_NA_Projector_NA_9 (2).pdf | Pl | 28/05/2072 | all equitment in good conditions | 14952 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_9 (1).pdf | OLL | 27/1/23 | all eaultment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_8.pdf | OCC | 27/01/2024 | Projector and projector metrix workstation are in good condition | 7262 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_8 (1).pdf | OCC P1, P2, P3 | 28/02/2023 | all equitment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_7 (2).pdf | OCL | 27/1/2022 | oc | 7256 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE | video wall in good condition & view cetu in clear pixel. | Turn off projector and unplug power cord and the cables to any video sources. | FALSE |  | Wipe the exterior of the projector with soft cloth | FALSE |  | Use vacuum with soft brush attachment to clean the exterior vents | FALSE |  | Re-connect the power cord and the cables to any video sources. | FALSE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_7.pdf | OLL (P2) | 29/03/2024 | All in good condition | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_21.pdf | OCC | 27/7/2022 | ok | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE | VIDEO WALL & ALL CAMERA VIEW IN GOOD CONDITION AND QUALITY- C3X Server in good condition | Turn off projector and unplug power cord and the cables to any video sources. | FALSE | VIDEO WALL & ALL CAMERA VIEW IN GOOD CONDITION AND QUALITY- C3X Server in good condition | Wipe the exterior of the projector with soft cloth | FALSE | VIDEO WALL & ALL CAMERA VIEW IN GOOD CONDITION AND QUALITY- C3X Server in good condition | Use vacuum with soft brush attachment to clean the exterior vents | FALSE | VIDEO WALL & ALL CAMERA VIEW IN GOOD CONDITION AND QUALITY- C3X Server in good condition | Re-connect the power cord and the cables to any video sources. | FALSE | VIDEO WALL & ALL CAMERA VIEW IN GOOD CONDITION AND QUALITY- C3X Server in good condition | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE | VIDEO WALL & ALL CAMERA VIEW IN GOOD CONDITION AND QUALITY- C3X Server in good condition
| SC_PM_NA_Projector_NA_4.pdf | OCC (P1) | 28/03/2024 | All in good condition | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_23.pdf | OCC (P1) | 28/07/2022 | equipment in good condition | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_17.pdf | OCC (Projector 1) | 28/10/2024 | All equipment in a good condition | 22776 | 7222 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_15 (2).pdf | OCC (P2) | 29/08/2022 | Send projektor to repair | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. |  | - Projector under maintenance | Turn off projector and unplug power cord and the cables to any video sources. |  | - Projector under maintenance | Wipe the exterior of the projector with soft cloth |  | - Projector under maintenance | Use vacuum with soft brush attachment to clean the exterior vents |  | - Projector under maintenance | Re-connect the power cord and the cables to any video sources. |  | - Projector under maintenance | Projector Matrix CPU/Workstation | Reset matrix in sequences. |  | - Projector under maintenance
| SC_PM_NA_Projector_NA_13 (2).pdf | UCC (P1) | 28/10/2022 | all equipment and cable in good conditions. | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_6 (1).pdf | OLC (P2) | 29/01/2023 | all equiptment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_8 (2).pdf | OCC | 27/02/2022 | all equitment in sood conditiong | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_2 (2).pdf | P1 | 28/04/2022 | OK. | 14952 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_12.pdf | OCC P2 | 29/05/2024 | all equipment in good conditions | 20159 | 16079 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE | 1 unit bulb Faulty | Turn off projector and unplug power cord and the cables to any video sources. | TRUE | 1 unit bulb Faulty | Wipe the exterior of the projector with soft cloth | TRUE | 1 unit bulb Faulty | Use vacuum with soft brush attachment to clean the exterior vents | TRUE | 1 unit bulb Faulty | Re-connect the power cord and the cables to any video sources. | TRUE | 1 unit bulb Faulty | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE | 1 unit bulb Faulty
| SC_PM_NA_Projector_NA_10 (2).pdf | OCC (P1) | 28/02/2022 | all equipment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_15.pdf | OCC (P1) | 28/05/2024 | - For projector 1, still waiting for spareparts (bulb) - Other that, all equipment in a good condition. | 7262 | 16079 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. |  | Waiting for Spareparts (BULB) | Turn off projector and unplug power cord and the cables to any video sources. |  | Waiting for Spareparts (BULB) | Wipe the exterior of the projector with soft cloth |  | Waiting for Spareparts (BULB) | Use vacuum with soft brush attachment to clean the exterior vents |  | Waiting for Spareparts (BULB) | Re-connect the power cord and the cables to any video sources. |  | Waiting for Spareparts (BULB) | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_15 (1).pdf | OCC P2 | 29/10/2023 | Bulb faulty waiting for new bulb | 20159 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_16 (1).pdf | OCC P2 | 30/11/2023 | All equipment in good condition. | 7262 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_18 (1).pdf | KLS | 14/10/2023 | good condition | 7248 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_18.pdf | OCC (Projector 2) | 29/11/2024 | All equipment in a good condition | 23063 | 7248 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_18 (2).pdf | OCC | 27/08/2022 | ok | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE |  | Turn off projector and unplug power cord and the cables to any video sources. | FALSE | - video wall in good condition & view all camera in good quality - CSx serwer module in good condition of all cable tight properly. | Wipe the exterior of the projector with soft cloth | FALSE | - video wall in good condition & view all camera in good quality - CSx serwer module in good condition of all cable tight properly. | Use vacuum with soft brush attachment to clean the exterior vents | FALSE | - video wall in good condition & view all camera in good quality - CSx serwer module in good condition of all cable tight properly. | Re-connect the power cord and the cables to any video sources. | FALSE | - video wall in good condition & view all camera in good quality - CSx serwer module in good condition of all cable tight properly. | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA (1).pdf | OCC (P3) | 30/03/2024 | All in good condition | syahrul Azwan | Azhar Yunus | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_20.pdf | Tun | 15/10/2023 | good condition | FAHDULMUNIR | AZHAR YUNUS | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_2 (1).pdf | P2 | 29/05/2023 |  | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_4 (2).pdf | P3 | 30/05/2022 | all equiment in good condition | 14952 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE | cant project | Use vacuum with soft brush attachment to clean the exterior vents | TRUE | bright | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_3 (2).pdf | P2 | 29/04/2024 | all equitment in good condition | 14952 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE | one projector faulty | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
4000700137 | SC_PM_QTR_Projector_4000700137.pdf | occ P2 | 29/1/25 | All equipment in a good condition | FR TEAM | FAHDULMUNIR | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_9.pdf | P1 OCC | 28/04/2024 | - bulb malfunction - projector off | 7248 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_10 (1).pdf | OCC P1 | 28/04/2023 | all equipment in good contition |  | 7171 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_10.pdf | P3 OCC | 30/09/2024 | -BULB MULFUNCTION -PROJECTOR OFF | 7248 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_11 (1).pdf | OCC P1 | 28/01/2023 | all equipment in guod conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_11 (2).pdf | HQ | 29/01/2022 | All part and connection good. | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_11.pdf | OLC | 27/05/2024 | Waiting for bulb to arrive,all in good condition | 7262 ZULKARNAIN | 16079 TAQIUDDIN | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. |  | Waiting for sparepart (bulb) | Turn off projector and unplug power cord and the cables to any video sources. |  | Waiting for sparepart (bulb) | Wipe the exterior of the projector with soft cloth |  | Waiting for sparepart (bulb) | Use vacuum with soft brush attachment to clean the exterior vents |  | Waiting for sparepart (bulb) | Re-connect the power cord and the cables to any video sources. |  | Waiting for sparepart (bulb) | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_1 (1).pdf | OCC Projector 1&2 | 28/02/2024 | All equipments are functional like normal | 20449 DANIAL ABD AZIZ | 7111 AZHAR YUNUS | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_12 (1).pdf | OCC P3 | 30/11/2023 | All equipment in a good condition. | 7262 ZULKANAIN | 7111 AZHAR YUNUS | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_12 (2).pdf | HQ | 30/01/2022 | All part and connection good. | 7110 SYAHRUL AZWAN | 7111 AZHAR YUNUS | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_1 (2).pdf | P1 | 28/05/2023 |  | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_13 (1).pdf | OCC | 28/10/2023 | All good | 19920 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_1 (3).pdf | P3 | 30/04/2022 | all eautment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE | 1 UNIT PROJECTOR FAULTY | Wipe the exterior of the projector with soft cloth | TRUE | lumit projector foulty | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_14 (2).pdf | OCC (P2) | 29/10/2022 | Projector under repairing panasonic | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE |  | Turn off projector and unplug power cord and the cables to any video sources. | FALSE |  | Wipe the exterior of the projector with soft cloth | FALSE |  | Use vacuum with soft brush attachment to clean the exterior vents | FALSE |  | Re-connect the power cord and the cables to any video sources. | FALSE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | FALSE
| SC_PM_NA_Projector_NA_16 (2).pdf | OCC (P3) | 30/07/2022 | Equipment in good condition | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_16.pdf | OCC (Projector 2) | 29/10/2024 | All equipment in a good condition. | 22776 | 7222 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_17 (1).pdf | OCC PI | 28/11/2023 | All in good condition | 7162 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_17 (2).pdf | 00c(P3) | 30/10/2022 | All equipment and cable in good conditions. | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_19 (2).pdf | OCC (P2) | 29/07/2022 | No spare part. Take to repair | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. |  | Projector under maintenance | Turn off projector and unplug power cord and the cables to any video sources. |  | Projector under maintenance | Wipe the exterior of the projector with soft cloth |  | Projector under maintenance | Use vacuum with soft brush attachment to clean the exterior vents |  | Projector under maintenance | Re-connect the power cord and the cables to any video sources. |  | Projector under maintenance | Projector Matrix CPU/Workstation | Reset matrix in sequences. |  | Projector under maintenance
| SC_PM_NA_Projector_NA_19.pdf | OCC (projector 3) | 30/11/2024 | All equipment in a good condition | 23063 | 7248 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_1.pdf | OCC (P1) | 27/02/2025 | - Projector off, only remove dust outside Projector. - Other than that, all equipments in a good Conditions. | 21081 | 7262 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. |  | Projector off cause matrix server under maintainance. | Turn off projector and unplug power cord and the cables to any video sources. |  | Projector off cause matrix server under maintainance. | Wipe the exterior of the projector with soft cloth |  | Projector off cause matrix server under maintainance. | Use vacuum with soft brush attachment to clean the exterior vents |  | Projector off cause matrix server under maintainance. | Re-connect the power cord and the cables to any video sources. |  | Projector off cause matrix server under maintainance. | Projector Matrix CPU/Workstation | Reset matrix in sequences. |  | Projector off cause matrix server under maintainance.
| SC_PM_NA_Projector_NA_20 (1).pdf | OCC (P3) | 30/08/2022 | Equipment in good condition | SIG and COMM Technician / supervisor | Engineer / Associate | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_22.pdf | OIL | 27/11/22 | all cauutrent in good conditions. | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_24.pdf | OCC (PI) | 28/08/2022 | Equipment in good condition | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_25.pdf | OCC | 27/10/2022 | all equipment and connection device in good condition | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE | cleaning all dust at server csx | Turn off projector and unplug power cord and the cables to any video sources. | FALSE | csx module in good operation condition and all cable in tight and secure condition. | Wipe the exterior of the projector with soft cloth | FALSE |  | Use vacuum with soft brush attachment to clean the exterior vents | FALSE | view at video wall in good quality | Re-connect the power cord and the cables to any video sources. | FALSE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_2.pdf | OCC (PROX CTOR 3) | 30/01/2024 | all equipment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA (2).pdf | OCC (P3) | 30/01/2023 | all equipment in good conditions | 11727 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_3 (1).pdf | P3 | 30/05/2023 |  | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_3.pdf | P1 | 28/01/2024 | Projector and projector matrix workstation are in good condition | 7262 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA (3).pdf | P2 | 29/05/2022 | OK | 14952 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE | 1 unit projector fault | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_4 (1).pdf | 0CC (P3) | 30/04/2023 | Good Condition. | 7223 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_5 (1).pdf | OCC | 27/04/2023 | all equipment in good condition |  | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_5 (2).pdf | HQ | 20/01/2022 | waiting for projector from panasonic manufacture. connection in matrix in good condition. | 7110 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE | Projector faulty. | Turn off projector and unplug power cord and the cables to any video sources. | FALSE |  | Wipe the exterior of the projector with soft cloth | FALSE |  | Use vacuum with soft brush attachment to clean the exterior vents | FALSE |  | Re-connect the power cord and the cables to any video sources. | FALSE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_5.pdf | OCC | 29/01/2024 | All in good condition | 7262 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_6 (2).pdf | OCC | 27/04/2022 | ok. | 7222 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | FALSE |  | Turn off projector and unplug power cord and the cables to any video sources. | FALSE |  | Wipe the exterior of the projector with soft cloth | FALSE |  | Use vacuum with soft brush attachment to clean the exterior vents | FALSE |  | Re-connect the power cord and the cables to any video sources. | FALSE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_7 (1).pdf | ce (p2) | 29/4/2023 | Good Condition. | 7223 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA.pdf | OCC (P2) | 28/02/2025 | - All equipments in a good condition. | 21081 | 7262 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences.
| SC_PM_NA_Projector_NA_14 (1).pdf | OCC | 27/11/2023 | all in good sa condition | 7262 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
4000700138 | SC_PM_QTR_Projector_4000700138.pdf | occ Pl | 28/01/2025 | All equipment in a good condition | 23063 | 7248 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
4000700139 | SC_PM_QTR_Projector_4000700139.pdf | OCC P3 | 30/1/25 | All equipment in a good condition | 23063 | 7248 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_6.pdf | OCC Projectors | 29/02/2024 | All equipments are in good condition | 20449 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE
| SC_PM_NA_Projector_NA_14.pdf | P2 OCC | 29/04/2024 | -bulb malfunction - projector off | 7248 | 7111 | Projector Bulb, Projector Case, Lens | Use canister or compressed air to remove dust from the lens. | TRUE |  | Turn off projector and unplug power cord and the cables to any video sources. | TRUE |  | Wipe the exterior of the projector with soft cloth | TRUE |  | Use vacuum with soft brush attachment to clean the exterior vents | TRUE |  | Re-connect the power cord and the cables to any video sources. | TRUE |  | Projector Matrix CPU/Workstation | Reset matrix in sequences. | TRUE